## App A Financial Proposal Mod 1
Appendix A – Financial Proposal Module 1
(Failure to complete this Appendix may lead to the rejection of the tender)
PRICE LIST (Module 1)
TYPE OF SERVICE |  | UNIT PRICE (for implementation) | PRICE EVALUATION SCENARIO | PRICE OF THE BID for evaluation purpose (unit price x scenario)
A | First Intervention Team training per person |  | (A x 24) x 2 | 0
B | Informative training related with earthquakes per training (approx. 250 EMSA staff) |  | B x 2 | 0
C | Drill exercise per exercise (approx. 250 EMSA staff plus external visitors) |  | C x 2 | 0
D | Consultancy services per hour |  | D x 40 | 0
E | Certified document translation per standard page (25 lines, 45 characters per line) |  | E x 50 | 0
Total price of Module 1 = (A*24*2) + (B*2) + (C*2) + (D*40) + (E*50) |  |  |  | 0

## App A Financial Proposal Mod 2
Appendix A – Financial Proposal Module 2
(Failure to complete this Appendix may lead to the rejection of the tender)
PRICE LIST (Module 2)
TYPE OF SERVICE |  | UNIT PRICE (for implementation) | PRICE EVALUATION SCENARIO |  | PRICE OF RECHARGE SERVICE PER UNIT
|  |  | NUMBER OF UNITS | PRICE OF THE BID for evaluation purpose (unit price x number of units)
A | Foam & water 6L ABF (ZAP6) class fire extinguisher* |  | 10 (pcs) | 0
B | Carbon dioxide (CO2) 5kg B class fire extinguisher* |  | 10 (pcs) | 0
C | Dry powder 6kg ABC class fire extinguisher* |  | 10 (pcs) | 0
D | Dry powder 50kg ABC class fire extinguisher* |  | 10 (pcs) | 0
E | Fire hose reel DN25, length: 30m* |  | 10 (pcs) | 0
F | Annual preventative maintenance of all fireproof partitions and doors** |  | 4 (years) | 0
G | Annual preventative maintenance of all fire hose reels** |  | 4 (years) | 0
H | Annual preventative maintenance of all fire extinguishers** |  | 4 (years) | 0
I | Annual preventative maintenance of both foam fixed fire extinguishing systems** |  | 4 (years) | 0
J | One hour of corrective maintenance** |  | 50 | 0
Total price of Module 2= (A*10) + (B*10) + (C*10) + (D*10) + (E*10) + (F*4) + (G*4) + (H*4) + (I*4) + (J*50) |  |  |  | 0
* All associated costs included (e.g., warranty, delivery).
** All associated costs included (e.g., equipment, materials, insurance and transportation costs). The price per year for preventative maintenance shall also cover any supplementary equipment that may be purchased during the duration of the contract (in particular fire extinguishers, fire hoses, the required signage or any other safety equipment and accessories required by EMSA).

## Appendix B Compliance Matrix
Specifications | Specifications - details | Yes/No | Dimensions or additional description
Supply of Foam and water ABF (ZAP6) class fire extinguishers with the following characteristics:
To be used on classes A, B, F and electrical fires
Service pressure | 15 bar
Capacity | 6L
Weight | not more than 10 kg
Propellant | nitrogen
Extinguisher Rating | 27A 233B 75F
Operating temperature | 5C/+60˚C
Operating time | 42s
Dimensions | 598x180mm (hxd)
100% environmentally friendly with no harmful chemical residue
35kV Di-electrical safety test pass
Proof of approved manufacturing process
CE approved and related Certifications
Supplied complete with pressure gauge, anti-corrosion treatment, delivery and local distribution
Warranty | min. 2 Year Manufacturer’s
Carbon dioxide (CO2) 5Kg B class fire extinguishers
To be used on class A, B and E
Maximum service pressure | 174 bar
Capacity | 5Kg
Weight | not more than 15 kg
Propellant | Carbon dioxide (CO2)
Extinguisher Rating | 89B
Operating temperature | -20 to +60ºC
Dimensions | 745x136mm (hxd)
Prove of approved manufacturing process
CE approved and related Certifications
Supplied complete with delivery and local distribution
Warranty | min. 2 Year Manufacturer’s
Dry powder 6Kg ABC class fire extinguishers
To be used on class A, B, C and E up to 50.000V
Service pressure | 15 bar
Capacity | 6Kg
Weight | not more than 11 kg
Propellant | nitrogen
Extinguisher Rating | 34A-233B-C
Operating temperature | -20 to +60ºC
Operating time | 16s
Dimensions | 529x150mm (hxd)
Prove of approved manufacturing process
CE approved and related Certifications
Supplied complete with pressure gauge, durable polyester powder paint finish and anti-corrosion treatment, delivery and local distribution
Warranty | min. 2 Year Manufacturer’s
Dry powder 50Kg ABC class fire extinguishers
To be used on class A, B, C and E up to 35.000V
Service pressure | 15 bar
Capacity | 50Kg
Weight | not more than 90 kg
Propellant | nitrogen
Extinguisher Rating | 144A-610B-C
Operating temperature | -20 to +60ºC
Operating time | 40s
Dimensions | 950x315mm (hxd)
Prove of approved manufacturing process
CE approved and related Certifications | ISO 9002
Supplied complete with pressure gauge, durable polyester powder paint finish and anti-corrosion treatment, delivery and local distribution
Warranty | min. 2 Year Manufacturer’s
Supply of fire hose reels with the following characteristics:
DN 25 water hose
Length | 30 meters
Certifications and characteristics in line with the Portaria nº 1532/2008
Built-in hose reels, without cabinet | Rotating type
Including transport, removal of old fire hoses and installation